## Updated JOIDES Chem List
Part Number | Description | Systems Used | Manufacturer | Vendor Catalog Number | Comments
CH0428 | 10XPHOS BUFF SALINE (10XPBS) 4L, PolyPac; CAS: (7647-14-5 (Sodium Chloride)) # BP3994 | MBIO | Fisher Scientific Co. | BP3994
CH0427 | 1XPHOS BUFF SALINE (1XPBS), 4L; PolyPac; CAS: (7647-14-5 (Sodium Chloride))# BP24384 | MBIO | Fisher Scientific Co. | BP24384
CH0027 | 4-(Methylamino)phenol hemisulfate salt (Metol), 100g, #320013-100G (Sigma-Aldrich) | Silica | Sigma-Aldritch Chemical Co. | 320013-100G
CH1020 | 4-Nitrophenyl phosphate disodium salt hexahydrate, 1g, Sigma #N4645-1G | MBIO | Sigma-Aldritch Chemical Co. | N4645-1G | By Request Only
CH0030 | Acetone, Histological grade (for catwalk use), SafeTin 4L, #A16S-4 | Curation | Fisher Scientific Co. | A16S-4
CH0010 | Acetone, Optima grade; 1L, #A929-1 | Solvent | Fisher Scientific Co. | A929-1
CH0161 | Acid: Glacial, Acetic, 99.7%, 500ml, #A-38S-500 | Boron | Fisher Scientific Co. | A-38S-500
CH5009 | Acid: Hydrochloric, 0.1M For Alkalinity - 1L, #SA54-1 | Alkalinity | Fisher Scientific Co. | SA54-1
CH0091 | Acid: Hydrochloric, Reagent ACS, 37%, 2.5L, #A-144SI-212 | General | Fisher Scientific Co. | A-144SI-212
CH0039 | Acid: Hydrochloric,Tracemetal Grade, 500mL, #A-508-500 | General | Fisher Scientific Co. | A508-500
CH0044 | Acid: Hydrofluoric, Tracemetal Grade 500mL. Bottle #A513-500 | Palynology | Fisher Scientific Co. | A513-500 | By Request Only
CH1021 | Acid: Nitric, Optima*, 500mL, #A-467-500 | ICP | Fisher Scientific Co. | A-467-500
CH0094 | Acid: Nitric, Reagent ACS, 70% 500mL, #A-200S-500 | ICP | Fisher Scientific Co. | A-200S-500
CH0040 | Acid: Nitric, Tracemetal Grade, 500mL, #A-509-500 | ICP | Fisher Scientific Co. | A-509-500
CH0119 | Acid: o-Phosphoric, 85%, certified ACS, 500ml, #A-242-500 | Nitrate, Nitrite | Fisher Scientific Co. | A242/500
CH0130 | Acid: Sulfuric, Reagent ACS, 500mL, #A-300-S-500 | Phosphate, Bromide, Boron, Silica | Fisher Scientific Co. | A-300-S-500
CH0080 | Alumina Adsorption, 500g, #A-540-500 | SRA | Fisher Scientific Co. | A-540-500
CH0035 | Aluminum Chloride, hexahydrate - 100gm/bt #237078-100G (Aldrich) | Nitrate | Sigma-Aldritch Chemical Co. | 237078-100G
CH1027 | Aluminum potassium sulfate dodecahydrate, 100g, Sigma#237086-100G | MBIO | Sigma-Aldritch Chemical Co. | 237086-100G | By Request Only
CH0115 | Amaranth, 25g 12056-1 (Sigma-Aldrich) | MBIO | Sigma-Aldritch Chemical Co. | 12-056-1
CH0005 | Ammonium Acetate, 50g, #43,131-1 | Boron | Sigma-Aldritch Chemical Co. | 43,131-1
CH0076 | Ammonium Chloride, 100g, #A4514 (Aldrich) | Ammonia, Magnesium | Sigma-Aldritch Chemical Co. | 32,637-1
CH0012 | Ammonium Hydroxide - 500mL, #A-669S-500 | Nitrate, Magnesium | Fisher Scientific Co. | A-669S-500
CH0389 | Ammonium iron (II) sulfate hexahydrate, ACS reagent, 100g, 21540-6 (Sigma-Aldrich) | MBIO | Sigma-Aldritch Chemical Co. | 215406-100G
CH0167 | Ammonium Molybdate tetrahydrate, ACS, 100g, #A7302-100G | Phosphate, Bromide, Silica | Sigma-Aldritch Chemical Co. | A7302-100G
CH1028 | Ammonium phosphate, dibasic, ACS reagent, 5g #AC42337-0050 | Ammonia | Fisher Scientific Co. | AC42337-0050
CH0097 | Ammonium Sulfate, 500 gram/bottle #A702-500 | MBIO | Fisher Scientific Co. | A702-500 | By Request Only
CH1079 | Ampicillin, anhydrous 96-100.5%, 5g, Aldrich, A9393-5G | MBIO | Sigma-Aldritch Chemical Co. | A9393-5G | By Request Only
CH0190 | Antimony Potassium Tartrate Trihydrate- 250g, #A867-250 | Phosphate | Fisher Scientific Co. | A867-250
CH0014 | Ascarite II - 8-20 mesh #A183-500 | General -Carbon dioxide scrubber | Fisher Scientific Co. | A183-500
CH0202 | Ascorbic Acid, L- 25g, #A61-25 | Phosphate | Fisher Scientific Co. | A61-25
LS0120 | Baking Soda | General
CH0072 | Barium Chloride, anhydrous, 100g, #B-31-100C | MBIO | Fisher Scientific Co. | B-31-100C
CH5003 | Barium hydroxide crystal - 250g, #B-46-250 | General | Fisher Scientific Co. | B46-250 | By Request Only
CH0417 | Barium Sulfate - 100g, #24335-3 | Sulfide | Sigma-Aldritch Chemical Co. | 24335-3
SF5004 | Benzalkonium chloride, 500g, B6295 | First Aid - HF |  | B6295
CH1029 | Biotin, 500mg, Sigma #B0394-100G | MBIO | Sigma-Aldritch Chemical Co. | B0394-100G | By Request Only
HW0003 | Bleach, Clorox | Ammonium, Bromide
CH0006 | Boric Acid, ACS reagent, 100g, #B0394-100G | Boron | Sigma-Aldritch Chemical Co. | B0394-100G
CH5016 | Bromine Water, 500mL, #SB84I-500 | Iodide | Fisher Scientific Co. | SB84-500 | By Request Only
CH0182 | Buffer solution, pH 10.00, 500mL, #SB116-500 | Sulfide | Fisher Scientific Co. | SB116-500
CH0093 | Buffer solution, pH 4.00. 500ml, #SB98-500 | Alkalinity | Fisher Scientific Co. | SB98-500
CH0398 | Buffer solution, pH 7.00, 500ml, #SB108-500 | Alkalinity | Fisher Scientific Co. | SB108-500
CH0137 | Butanol, 1-, 1L , # A383SK-1 | Solvent | Fisher Scientific Co. | A383SK-1
CH5017 | Cadmium Nitrate, Tetrahydrate (crystalline/certified), 100g, Fisher#C13-100 | Sample preservation | Fisher Scientific Co. | C13-100
CH0068 | Cadmium, Metal #C3-500 | Nitrate, Nitrite | Fisher Scientific Co. | C3-500
CH0142 | Calcium Carbonate, Anhyd., Powder; 500g, #C-64/500 | Coulometer | Fisher Scientific Co. | C-64/500
CH0132 | Calcium Chloride, dihydrate, ACS 500g, #C-79-500 | Artificial seawater | Fisher Scientific Co. | C-79
LS0039 | Calgon -see Mule Team Borax | Paleontology
CH5006 | Cesium Chloride - 25g, #C-24-25 | MBIO | Fisher Scientific Co. | C-24-25 | By Request Only
CH0192 | Chloramine T - 250g, Fisher 01779-250 | MBIO | Fisher Scientific Co. | 01779-250 | By Request Only
CH1032 | Chloramphenico, 5g, Sigma#C0378-5G | MBIO | Sigma-Aldritch Chemical Co. | C0378-5G | By Request Only
CH1000 | CHNS Standard, BBOT, CHNOS, 2g, Costech #031047 (Thermo#338-352-10) | CHNS | Costech Analytical Technologies | 031047
CH1001 | CHNS standard, L-Aspartic Acid (C4H7NO4), 10g, Thermo#338-400-23 | CHNS | CE Elantech | 338-400-23
CH1002 | CHNS standard, L-Cystine (CHNOS), 2g, Thermo#338-400-18 | CHNS | CE Elantech | 338-400-18
CH5027 | CHNS standard, Soil Reference Material for NC, 5g, Thermo #338-400-25, Fisher #NC9746887 | CHNS | Fisher Scientific Co. | NC9746887
PL0003 | Clove Oil, 100 g, #0-55/100 | Paleontology | FISHER SCIENTIFIC COMPANY | 0-55/100
CH1033 | Cobalt (II) Chloride, 5g, Sigma #232696-5G | General | Sigma-Aldritch Chemical Co. | 232696-5G
CM0141 | Coulometer, Anode solution, Light Sensitive; #300-002 | Coulometer | UIC Coulometrics Inc. | 300-002
CM0140 | Coulometer, Cathode Solution, Light Sensitive; #300-001 | Coulometer | UIC Coulometrics Inc. | 300-001
CH1026 | Culture media, Agar bacteriological (Agar No. 1) - 500g, #OXLP0011B | MBIO | Fisher Scientific Co. | OXLP0011B | By Request Only
CH0406 | Culture media, Agar granulated - 500g, (Difco) #DF0145-17-0 | MBIO | Fisher Scientific Co. | DF-0145-17-0
CH5025 | Culture media, Agar Marine 2216 - 500g, (Difco 212185), #DF0979-17-8 | MBIO |  | DF0979-17-8
CH0407 | Culture media, Agar noble - 100g, (Difco) #DF-0142-15-2 | MBIO | Fisher Scientific Co. | DF0142-15-2 | By Request Only
CH5020 | Culture media, Agar R2A - 500g, (Difco), #DF1826-17-1 | MBIO |  | DF1826-17-1
CH1022 | Culture media, Agar TCBS- 500g, (Difco), #DF0650-17-4 | MBIO | Fisher Scientific Co. | DF0650-17-4
CH1025 | Culture media, Agar, Difco actinomycete Isolation - 500g, (Difco), #DF0957-17-4 | MBIO | Fisher Scientific Co. | DF0957-17-4 | By Request Only
CH1023 | Culture media, Agar, Tryptone Soya, CM0131, 500g, #OXCM0131B | MBIO | Fisher Scientific Co. | OXCM0131B
CH1024 | Culture media, Agarose, Sea Plaque GTG, 25g, #BMA50111 (Lonza #50111) | MBIO | Fisher Scientific Co. | BMA50111 | By Request Only
CH5021 | Culture media, Broth, Marine 2216 - 500g, #DF0791-17-4 | MBIO |  | DF0791-17-4
CH1031 | Culture media, Broth, Tryptone Soya CM0129 - 500g, #OXCM0129B | MBIO | Fisher Scientific Co. | OXCM0129B | By Request Only
CH5026 | Culture media, Tryptone, Acros organics, 500g, | MBIO | Acros Organics Inc | AC61184-5000
CH0385 | Cupric Oxide, 500g. #JT1814-1 | General | VWR SCIENTIFIC, INC | JT1814-1
CH0177 | Cupric Sulfate, anhydrous; 1lb/bottle #C495-500 | Nitrates | Fisher Scientific Co. | C495-500
CH0401 | Curcumin - 50g, Fisher AC218580500 | Boron | Fisher Scientific Co. | AC218580500
CH1034 | Cyanocobalamin (Vitamine B12), 500mg, Fisher #AC40592-5000 | MBIO | Fisher Scientific Co. | AC40592-5000 | By Request Only
CH1035 | D-(+)-Glucose monohydrate, 250g, Sigma #49158-250G | MBIO | Sigma-Aldritch Chemical Co. | 49158-250G | By Request Only
CH1036 | D-(+)-Maltose monohydrate, 100g, Sigma #M9171-100G | MBIO | Sigma-Aldritch Chemical Co. | M9171-100G | By Request Only
CH1037 | D-Calcium pantothenate (Vitamin B5), 5g, Fisher #AC24330-0050 | MBIO | Fisher Scientific Co. | AC24330-0050 | By Request Only
CH1038 | Dextrin, 100g, Fisher #AC40628-1000 | MBIO | Fisher Scientific Co. | AC40628-1000 | By Request Only
CH0388 | Diaminopropionic Acid Monohydrochloride 99% - 5g, Sigma# D1502-5G | General |  | D1502-5G
CH1039 | Dimethyl Sulfoxide, 100ml, Fisher #BP-231-100 | MBIO | Fisher Scientific Co. | BP231-100 | By Request Only
CH0053 | Dimethylglyoxime - 100g/bottle #D-62 | Nickel | Fisher Scientific Co. | D-62
CH1040 | DL-Thioctic acid, 1g, Fisher #BP2682-1 | MBIO | Fisher Scientific Co. | BP2682-1 | By Request Only
CH1075 | D-Pantothenic acid hemicalcium salt, Bioreagent, Sigma #P5155-100G | MBIO | Sigma-Aldritch Chemical Co. | P5155-100G | By Request Only
CH0162 | Drierite, Anhydrous CaSO4 Dessicant, 8 mesh, 5lbs. 07-578-3B | Desiccator | Fisher Scientific Co. | 07-578-3B
CH0003 | Drierite, Anydrous CaSO4 Dessicant: 10-20 mesh, 1lb, 07-578-4A | Desiccator | Fisher Scientific Co. | 07-578-4A
CH0056 | EDTA (Ethylenediaminetetracetic acid), Disodium Salt Dihydrate, ACS,100g, E4884-100G (Aldrich) | Nitrate, Magnesium | Sigma-Aldritch Chemical Co. | E4884-100G
CH0047 | EGTA (Ethylenebis Oxyethylenedinitrilotetracetic acid), 25G, #E4378-25G (Aldrich) | Calcium titration | Sigma-Aldritch Chemical Co. | E4378-25G
CH0050 | Eriochrome Black T, 25g, # E-512-25 | Magnesium(Titration) | Fisher Scientific Co. | E-512-25
CH0085 | Ethanol, Reagent alcohol, histological grade, for all non-chemlab applications, 4L bottle, #A962P-4 (Anhydrous Ethyl Alcohol 90% ±1% v/v; Methyl Alcohol approx. 5% v/v; 2-Propanol approx. 5% v/v) | General | Fisher Scientific Co. | A962P-4
CH5011 | Ethyl Acetate, HPLC grade - 500mL, # E195sk-1 | Solvent | Fisher Scientific Co. | E195sk-1 | By Request Only
CH0150 | Ethyl Alcohol, Absolute 200 Proof, 99.5%, Acros Organics, 500ml, Ecosafpak, AC61509-5000 | Ammonia, Magnesium, Calcium, MBIO | Fisher Scientific Co. | AC61509-5000
CH0001 | Ethylene Glycol - 500mL/bottle #E-178-500 | XRD and Thin Section Polishing | Fisher Scientific Co. | E-178-500
CH1074 | Folic Acid, Bioreagent, Sigma #F8758-5G | MBIO | Sigma-Aldritch Chemical Co. | F8758-5G | By Request Only
CH0019 | Formaldehyde, 37% w/v, certified ACS, 500mL bottle. #F79-500 | Paleontology | Fisher Scientific Co. | F79-500
CH0410 | Formaldehyde, Para - 500g, #O4042-500 | Sample preservation | Fisher Scientific Co. | O4042-500
CH1011 | Formamide, super pure, 100g/bt, #BP228-100 | MBIO | Sigma-Aldritch Chemical Co. | BP228-100
GS0012 | Gas Standard, 10 PPM Hydrogen sulfide in Nitrogen - P/N 04-260-O-58 | GC | Airgas USA | 04-260-O-58
GS0015 | Gas Standard, 100 PPM Hydrogen Sulfide in Nitrogen, P/N 04-295-O-58 | GC | Airgas USA | 04-295-O-58
GS0013 | Gas Standard, 20 PPM Hydrogen Sulfide in Nitrogen - P/N 04-H200043-O-58 | GC | Airgas USA | 04-H200043-O-58
GS0014 | Gas Standard, 40 PPM Hydrogen Sulfide in Nitrogen, P/N 04-265-O-74 | GC | Airgas USA | 04-265-O-74
GS0001 | Gas, Standard: "A"; O2 100ppm, N2 100ppm, C1 15ppm, C2= 15ppm, C2 15ppm, C3= 15ppm, C3 15ppm, iC4 15ppm, nC4 15ppm, iC5 15ppm, nC5 15ppm, iC6 15ppm, nC6 15ppm, CO2 100ppm, balance Helium in 105L cylinder, 1000 psig, | GC | Air Liquide America Specialty Gases, LLC
GS0002 | Gas, Standard: "B"; O2 1000ppm, N2 1000ppm, C1 100ppm, C2= 100ppm, C2 100ppm, C3= 100ppm, C3 100ppm, iC4 100ppm, nC4 100ppm, iC5 100ppm, nC5 100ppm, iC6 100ppm, nC6 100ppm, CO2 1000ppm, Balance Helium | GC | Airgas USA
GS0003 | Gas, Standard: "C"; O2 1%, N2 1%, C1 1000ppm, C2= 500ppm, C2 1000ppm, C3= 500ppm, C3 1000ppm, iC4 500ppm, nC4 500ppm, iC5 500ppm, nC5 500ppm, iC6 500ppm, nC6 500ppm, CO2 1%. Balance Helium in 105L cylinder, 1000 psig, P/N Custom | GC | Air Liquide America Specialty Gases, LLC
GS0004 | Gas, Standard: "D"; O2 7%, N2 20%, C1 1%, C2= 1000ppm, C2 1%, C3= 1000ppm, C3 1%, iC4 1000ppm, nC4 1000ppm, iC5 1000ppm, nC5 1000ppm, iC6 1000ppm, nC6 1000ppm, CO2 10%, Balance Helium | GC | Air Liquide America Specialty Gases, LLC
GS0005 | Gas, Standard: 10% Methane, Balance Nitrogen, 105L cylinder, 1000 psig, C-10 valve, P/N 04-876-105 | GC | Air Liquide America Specialty Gases, LLC
GS0006 | Gas, Standard: 30% Methane, Balance Nitrogen, 105L cylinder, 1000 psig, C-10 valve, P/N Custom | GC | Air Liquide America Specialty Gases, LLC
GS0007 | Gas, Standard: 50% Methane, Balance Nitrogen, 105L cylinder, 1000psig, C-10 valve, P/N Custom | GC | Airgas USA
GS0008 | Gas, Standard: 70% Methane, Balance Nitrogen in 105L cylinder, 1000 psig, C-10 valve, P/N Custom | GC | Scott Speciality Gases
GS0011 | Gas, Standard: 90% Methane, Balance Nitrogen in 105L cylinder, 1000 psig, C-10 valve, P/N Custom | GC | Scott Speciality Gases
GS0010 | Gas, Standard: Scott 4-, 1% Methane in Helium | GC | Scott Speciality Gases
CH0429 | Glutaraldehyde Solution (50%/Certified/BioReagent); Pentanedial; 1L; Amber Glass; BP25471 | MBIO | Fisher Scientific Co. | P25471 | By Request Only
CH0141 | Glycerol, 500mL, #G33-500 | XRF | Fisher Scientific Co. | G33-500
CH1041 | Glycine (aminoacetic acid) BioUltra, 50g, Sigma#50046-50G | MBIO | Sigma-Aldritch Chemical Co. | 50046 | By Request Only
CH0178 | Glyoxal-Bis (2-Hydroxyanil) powder - PN 55178 | Calcium titration | Sigma-Aldritch Chemical Co. | G1040-7
CH1042 | Goethite (Iron (III) Oxide), 100g, Sigma #71063-100G | MBIO | Sigma-Aldritch Chemical Co. | 71063-100G | By Request Only
CH1043 | HEPES, 100g, Sigma #H3375-100G | Biological buffer | Sigma-Aldritch Chemical Co. | H3375-100G | By Request Only
CH0084 | Hexane, n-, Optima Grade, 1L, # H-303-1 | GC | Fisher Scientific Co. | H-303-1
CH1044 | Histodenz, 100g, Sigma#D2158-100G | Centrifugation | Sigma-Aldritch Chemical Co. | D2158-100G | By Request Only
CH1045 | Hyamine 1622 solution, 4mM in H2O, 1L, Sigma #51126 (Diisobutylphenoxyethoxyethyl)dimethylbenzylammonium chloride solution (Request ONLY) | General | Sigma-Aldritch Chemical Co. | 51126
CH0096 | Hydrogen Peroxide, 30% Certified ACS, 500ml, H325-500 | Paleontology | Fisher Scientific Co. | H-325-500case
CH0043 | Hydroxylamine Hydrochloride, 100 g/bottle, #H-330 | Hg analysis | Fisher Scientific Co. | H-330 | By Request Only
CM0600 | ICP Standard, Aluminum in HNO3, Plasma Grade (100mL), #PLAL2-2Y | ICP | Fisher Scientific Co. | PLAL2-2Y
CM0590 | ICP Standard, Barium in HNO3, Plasma Grade (500mL), #PLBA2-2X | ICP | Fisher Scientific Co. | PLBA2-2X
CM0591 | ICP Standard, Boron in H2O, Plasma Grade (500mL), #PLB9-2X | ICP | Fisher Scientific Co. | PLB9-2X
CM0592 | ICP Standard, Calcium in HNO3, Plasma Grade (100mL), #PLCA2-2Y | ICP | Fisher Scientific Co. | PLCA2-2Y
CM0593 | ICP Standard, Chromium in HNO3, Plasma Grade (100mL), #PLCR2-2Y | ICP | Fisher Scientific Co. | PLCR2-2Y
CM0594 | ICP standard, Cobalt in HNO3, Plasma Grade (100mL), #PLCO2-2Y | ICP | Fisher Scientific Co. | PLCO2-2Y
CM0595 | ICP Standard, Copper in HNO3, Plasma Grade (100mL), #PLCU2-2Y | ICP | Fisher Scientific Co. | PLCU2-2Y
CM0599 | ICP Standard, Germanium in H2O, Plasma Grade (100mL), #PLGE9-2Y | ICP | Fisher Scientific Co. | PLGE9-2Y
CM5012 | ICP Standard, Iron in HNO3, Plasma Grade (500mL), #PLFE2-2X | ICP | Fisher Scientific Co. | PLFE2-2X
CH0090 | ICP standard, Lithium in HNO3, plasma grade(500mL), #PLLI2-2X | ICP | Fisher Scientific Co. | PLLI2-2X
CH0089 | ICP standard, Magnesium in HNO3, plasma grade(500mL), #PLMG2-2X | ICP | Fisher Scientific Co. | PLMG2-2X
CM5014 | ICP Standard, Manganese in HNO3, Plasma Grade (500mL), #PLMN2-2X | ICP | Fisher Scientific Co. | PLMN2-2X
CM0601 | ICP Standard, Nickel in HNO3, Plasma Grade (100mL), #PLNI2-2Y | ICP | Fisher Scientific Co. | PLNI2-2Y
CM0602 | ICP Standard, Niobium in H2O, Plasma Grade (100mL), #PLNB9-2Y | ICP | Fisher Scientific Co. | PLNB9-2Y
CM0603 | ICP Standard, Phosphorus in H2O, Plasma Grade (100mL), #PLP9-2Y | ICP | Fisher Scientific Co. | PLP9-2Y
CM0604 | ICP Standard, Potassium in HNO3, Plasma Grade (100mL), #PLK2-2Y | ICP | Fisher Scientific Co. | PLK2-2Y
CM1216 | ICP Standard, Rubidium in HNO3, Plasma Grade (125mL), #PLRB2-2Y | ICP | Fisher Scientific Co. | PLRB2-2Y
CM0605 | ICP Standard, Scandium in HNO3, Plasma Grade (100mL), #PLSC2-2Y | ICP | Fisher Scientific Co. | PLSC2-2Y
CM0606 | ICP Standard, Silicon in H2O, Plasma Grade (100mL), #PLSI9-2Y | ICP | Fisher Scientific Co. | PLSI9-2Y
CM5008 | ICP Standard, Sodium in HNO3, Plasma Grade (100mL), #PLNA2-2Y | ICP | Fisher Scientific Co. | PLNA2-2Y
CM5015 | ICP Standard, Strontium in HNO3, Plasma Grade (500mL), #PLSR2-2X | ICP | Fisher Scientific Co. | PLSR2-2X
CM0607 | ICP Standard, Sulfur in H2O, Plasma Grade (100mL), #PLS9-2Y | ICP | Fisher Scientific Co. | PLS9-2Y
CM0596 | ICP Standard, Titanium in H2O, Plasma Grade (100mL), #PLTI9-2Y | ICP | Fisher Scientific Co. | PLTI9-2Y
CM0608 | ICP Standard, Vanadium in HNO3, Plasma Grade (100mL), #PLV2-2Y | ICP | Fisher Scientific Co. | PLV2-2Y
CM0597 | ICP Standard, Yttrium in HNO3, Plasma Grade (500mL), #PLY2-2X | ICP | Fisher Scientific Co. | PLY2-2X
CM0609 | ICP Standard, Zinc in HNO3, Plasma Grade (100mL), #PLZN2-2Y | ICP | Fisher Scientific Co. | PLZN2-2Y
CM0610 | ICP Standard, Zirconium in HNO3, Plasma Grade (100mL), #PLZR2-2Y | ICP | Fisher Scientific Co. | PLZR2-2Y
CH0424 | Imidazole, C3H4N2, ACS, 100g, I2399-100G (Aldrich) | Nitrate | Sigma-Aldritch Chemical Co. | I2399-100G
CH1004 | Iodine, I2, 50g, #15134650 | Sulfide | Fisher Scientific Co. | ICN15134650
CH1047 | Iron (II) sulfate heptahydrate, 100g, Sigma #31236-100G | MBIO | Sigma-Aldritch Chemical Co. | 31236-100G | By Request Only
CH0409 | Iron (III) Chloride hexahydrate (Ferric Chloride), ACS, 100g, #I88-100G | MBIO | Fisher Scientific Co. | I88-100G
CH1046 | Iron (III) phosphate hydrate, 250g, Fisher #AA3110630 | General | Fisher Scientific Co. | AA3110630
CH0397 | IsoOctane, HPLC Grade, 1L, # O296SK-1 | Solvent | Fisher Scientific Co. | O296SK-1
CH1013 | L-(+)-Cysteine hydrochloride monohydrate, 25g, #C562-25 | MBIO |  | C562-25
CH1006 | Lanthanum Chloride - 250g | General | Fisher Scientific Co. | L9-250
CH0399 | Lithium Bromide - 25g, #229733-25G (Aldrich) | ICP | Fisher Scientific Co. | AA1073314
CH0075 | Lithium Chloride - 500g; # L-121-500 | MBIO | Fisher Scientific Co. | L121-500
CH0074 | Magnesium Chloride hexahydrate, ACS, 100g; # M9272-100G (Aldrich) | Magnesium | Sigma-Aldritch Chemical Co. | M9272-100G
CH1007 | Magnesium Perchlorate, 100g, #338-219-00 | CHNS | Costech Analytical Technologies | 021022
CH0143 | Magnesium Sulfate - ACS, 500g, #230391-500G (Aldrich) | Silica | Sigma-Aldritch Chemical Co. | 230391-500G
CH0194 | Manganese Chloride - Crystal, 500g, Fisher M87-500 | General | Fisher Scientific Co. | M-87-500
CH0110 | Manganese Sulfate Hydrate, #22-978-4 25gm | MBIO | Sigma-Aldritch Chemical Co. | 22-978-4 | By Request Only
CH1048 | Manganese(IV) oxide, 325mesh, 99.9%, 1kg, Alfa Aesar 3P (42250-A1), Fisher #50-345-016 | General | Fisher Scientific Co. | 50-345-016 | By Request Only
CH0042 | Mercury (II) Chloride - 50g, #M155I-50 | Sample preservation | Fisher Scientific Co. | M155I-50
CH1049 | Mercury(II) nitrate hydrate, ACS, 98%, Alfa Aesar (14497-18), 50g, Fisher #AA1449718 | General | Fisher Scientific Co. | A1449718 | By Request Only
CH0083 | Methanol (MeOH), Optima grade 1L, #A454-1 | GC | Fisher Scientific Co. | A454-1
CH5008 | Methanol, reagent grade (certified ACS) - 1L Plastic, F# A412-1 | Solvent | Fisher Scientific Co. | A412-1
CH0184 | Methylene Chloride, Optima grade, 1L bottle; D151-1 | GC | Fisher Scientific Co. | BPD151-1
CM0551 | Microspheres, Fluoresbrite (YG) Carboxylated, 0.50µm, P/15700 10mL (store refrigerated and out of light) | MBIO | Poly Sciences inc. | P/15700
CH1015 | Mounting Media, VECTASHIELD, 10mL Prevents rapid loss of fluorescence during microscopic examination Optically clear Vector Lab #H-1000, Fisher # NC9265087 | MBIO | Fisher Scientific Co. | NC9265087
CH0008 | Mounting Medium, Hyrax- 1oz bottle; Custom Research & Devel. | Microscope | Custom Research & Dev. Inc
HW0519 | Mounting Medium, Norland Optical # 6101 - 1oz Bot. 12/Box | Microscope | Norland Optical | # 6101
LS0099 | Mounting Medium, Piccolyte | Microscope
CH5030 | Mouting media, Glycerin Jelly, 100ml, #17998-10 | Microscope
CH1081 | Myo-Inositol, Bioreagent for cell culture, 50g, Aldrich I7508-50G | MBIO | Sigma-Aldritch Chemical Co. | I7508-50G | By Request Only
CH0402 | N-(1-Naphtyl)-Ethylene Diamine Dihydrochloride - 25g, #222488-25G (NED) | Nitrates | Sigma-Aldritch Chemical Co. | 222488-25G
CH0421 | N,N-dimethyl-p-phenylenediamine sulfate salt, 25g, PN AC408490250 | Sulfide | Fisher Scientific Co. | AC408490250
CH1050 | Nicotinic acid (Niacin), 99.5%, 5g, Fisher #AC12829-0050 | MBIO | Fisher Scientific Co. | AC12829-0050 | By Request Only
CH1051 | Nitrilotriacetic acid, Sigma grade >99%, 5g, Sigma #N9877-5G | Chelating agent |  | N9877-5G | By Request Only
CH1052 | o-Phthalaldehyde, MP Biomedical, 5g. Fisher #ICN10264805 | MBIO | Fisher Scientific Co. | ICN10264805 | By Request Only
CH0169 | Oxalic acid dihydrate, ACS, 100g, #247537-100G (Aldrich) | Silica | Sigma-Aldritch Chemical Co. | 247537-100G
CH1053 | p-Aminobenzoic acid, 99+%, MP Biomedical, 1g, Fisher #ICN19461901 | MBIO | Fisher Scientific Co. | ICN19461901 | By Request Only
CH1054 | Parafin Oil, Fluka, 500ml | IR spectoscopy |  |  | By Request Only
CH1072 | PDCA, 2,6-Pyridinedicarboxylic acid, 99%, 25gm, Sigma #P63808-25G CAS#499-83-2 | IC | Sigma-Aldritch Chemical Co. | P63808-25G
CH0408 | Peptone - 500g, (Bacto) #BP1420-100 | MBIO | Sigma-Aldritch Chemical Co. | BP1420-100
CH0140 | Phenol, Liquid, certified, 500ml, A931I-500 | Ammonia | Fisher Scientific Co. | A931I-500
CH1018 | Poly (vinyl alchohol), 95% Hydrolyzed, 500g, Average M.W. 95000, Fisher #AC18329-5000 | Titration | Fisher Scientific Co. | AC18329-5000
CH1005 | Potassium Biiodate, KH(IO3)2, 100g, #P190-100 | Sulfide | Fisher Scientific Co. | P190-100
CH0195 | Potassium Bromide - 100g, # 24341-8 | General | Sigma-Aldritch Chemical Co. | 24341-8
CH0100 | Potassium Carbonate Crystal - 500gm; Fisher P-179 | General | Fisher Scientific Co. | P-179
CH0057 | Potassium Chloride, ACS, 500G, #P3911-500G (Aldrich) | Alkalinity | Sigma-Aldritch Chemical Co. | P3911-500G
CH0059 | Potassium Chromate, ACS, 100g, #216615-100G (Aldrich) | Chloride titration | Sigma-Aldritch Chemical Co. | 216615-100G
CH0174 | Potassium Dichromate, ACS, 100g, #207802-100G (Aldrich) | Chloride titration | Sigma-Aldritch Chemical Co. | 207802-100G
CH0054 | Potassium Ferricyanide - 500g/bottle #P-232-500 | Thin Section | Fisher Scientific Co. | P-232-500
CH0423 | Potassium Hydrogen Phthalate, pH standard, 100g, #P1088-100 (also pH buffer solution 4.00) | TOC | Fisher Scientific Co. | P1088-100
CH0041 | Potassium Hydroxide, pellets; 500g, #P-250-500 | Coulometer | Fisher Scientific Co. | P-250-500
CH1056 | Potassium Iodate, BioXtra, >99%, 100g, Sigma #P3959-100G | General | Sigma-Aldritch Chemical Co. | P3959-100G | By Request Only
CH0065 | Potassium Iodide,free-flowing granular, ACS, 500g, #P-410-500 | Coulometer | Fisher Scientific Co. | P-410-500
CH0071 | Potassium Nitrate - 100g, #P-263-100 | Nitrate | Fisher Scientific Co. | P-263-100
CH0196 | Potassium Phosphate Monobasic - 25g, # P0662-25G (Aldrich) | Phosphate | Sigma-Aldritch Chemical Co. | P0662-25G
CH0086 | Propanol, 2-, Isopropyl Alcohol, 4L, #A426S-4 | Solvent | Fisher Scientific Co. | A426S-4
CH1077 | pyridoxine hydrochloride (B6), Sigma #47862 | MBIO | Sigma-Aldritch Chemical Co. | 47862 | By Request Only
CH0411 | Pyruvic Acid sodium salt (sodium pyruvate),100g, #BP356-100 | MBIO | Fisher Scientific Co. | BP356-100
CH1012 | Resazurin sodium salt, dye, bioreagent, 5g/bt, Sigma #R-2127 | MBIO | Sigma-Aldritch Chemical Co. | R-2127
CH0114 | Rhodizonic Acid, Dipotassium Salt, 5g, Acros AC13233-0050 | Lead, Barium analysis | Fisher Scientific Co. | AC13233-0050 | By Request Only
CH1057 | Riboflavin (-)-, Vitamin B2, Sigma #R4500-5G | MBIO | Sigma-Aldritch Chemical Co. | R4500-5G | By Request Only
CH1058 | RNALATER solution, 500ml, Ambion (AM7021), Fisher #NC9570640 | MBIO - RNA stabilization | Fisher Scientific Co. | NC9570640 | By Request Only
CM1101 | Rock Standard #99986 (S1=0.16, S2=8.41, S3=0.39, S4=23.99, TMAX=418, TOC=3.11) Humble | SRA | Weatherford Laboratories | 99986
CH1073 | Salicylic acid, ACS reagent, >=99%, Aldrich #247588-100G, 100gm | Sulfide | Sigma-Aldritch Chemical Co. | 247588-100G
CH5012 | Seawater Standard, IAPSO - 200mL, PN 929-77777 | General - Standard | Guildline Instruments | 979-77777
CH5019 | Seawater, Untreated, plant cell culture tested, 1L, Sigma S9148-1L | MBIO | Sigma-Aldritch Chemical Co. | S9148-1L
CH0078 | Silica Gel - 2-1/2 Kilo Can, 12-28 Mesh, #S156212 | Desiccator | Fisher Scientific Co. | S156-212
CH0017 | Silica Gel - 5lb can, Mesh Size 6-12; Davison Chemical Co. | Desiccator | Fisher Scientific Co. | S684-212
XR0010 | Silica, Fine Granular, 40-100 Mesh, 10kg/box | General | Fisher Scientific Co. | S-151-10
CH0416 | Silver (I) Sulfide - 5g, #24147-4 | General | Sigma-Aldritch Chemical Co. | 24147-4
CH0052 | Silver Nitrate - 25g, #S-181-25 | Coulometer, Chloride titration | Fisher Scientific Co. | S-181-25
CH1017 | Silver Nitrate Standard Solution, 0.10N, 1L Fisher #AC12425-0010 | Chloride titration | Fisher Scientific Co. | AC12425-0010
CH0113 | Silver Sulfate, 20-441-2 10g | General | Sigma-Aldritch Chemical Co. | 20-441-2
CH1059 | Soda Lime, ACS; Alfa Aesar (36596), 4-8 mesh, 500g, Fisher #AA3659636 | General | Fisher Scientific Co. | AA3659636 | By Request Only
CH1019 | Sodium 2-bromoethanesulfonate, 100g, B9008-100G (discontinued by Sigma) | MBIO - Methanogensis inhibitor | Sigma-Aldritch Chemical Co. | B9008-100G
CH0073 | Sodium Acetate, 50g, #43143-5 | General - Buffer solution | Sigma-Aldritch Chemical Co. | 43143-5
CH1060 | Sodium Azide (NaN3), 99%, 100g, Fisher #AA1431422 | Sample preservation | Fisher Scientific Co. | AA1431422 | By Request Only
CH0034 | Sodium Bicarbonate - 500g, #S-233-500 | General | Fisher Scientific Co. | S-233-500
CH1061 | Sodium Bromide, ACS, 500g, Fisher #S255-500 | General | Fisher Scientific Co. | S255-500
CH1062 | Sodium cacodylate trihydrate, Bioreagent, 50g, Fisher #BP325-50 | MBIO | Fisher Scientific Co. | BP325-50 | By Request Only
CH0118 | Sodium Carbonate, Anhyd. Granular; 500g, #S263-500 | Coulometer | Fisher Scientific Co. | S263-500
CH0179 | Sodium Chloride, ACS, 500g, #S9888-500G (Aldrich) | Synthetic seawater | Sigma-Aldritch Chemical Co. | S9888-500G
CH0419 | Sodium Chloride, high purity, 99.999%, 100g, Aldrich#204439-100G | Silica, ICP | Sigma-Aldritch Chemical Co. | 204439-100G
CH0165 | Sodium Citrate Tribasic Dihydrate, ACS reagent, 500g, # S4641-500G (Aldrich) | Ammonia | Sigma-Aldritch Chemical Co. | S4641-500G
CH0170 | Sodium Hexafluorosilicate, 100g, Fluka, #71596-100G (Aldrich) | Silica | Sigma-Aldritch Chemical Co. | 71596-100G
CH0112 | Sodium Hexanitrocobaltate(III), #23,372-2, 100g | General | Sigma-Aldritch Chemical Co. | 23-372-2
CH1008 | Sodium Hydrosulfite, Na2O4S4, 500g/bottle, 250171-500G (Sigma-Aldrich) | Paleontology - clay separation | Sigma-Aldritch Chemical Co. | 250171-500G
CH0011 | Sodium Hydroxide, pellets, 100g, #S-318-100 | Titration, DA, Paleo, MBIO | Fisher Scientific Co. | S-318-100
CH0007 | Sodium Iodide - 100g, #S-324-100 | Iodide | Fisher Scientific Co. | S-324-100
CH1087 | Sodium L-lactate, Sigma L7022-10G (REQUEST ONLY) | MBIO | Sigma-Aldritch Chemical Co. | L7022-10G | By Request Only
CH1063 | Sodium molybdate dihydrate, 100g, Sigma M1651-100G | MBIO | Sigma-Aldritch Chemical Co. | M1651-100G | By Request Only
CH0186 | Sodium Nitrate - 500g, #S343-500 | Nitrate, Nitrite | Fisher Scientific Co. | S343-100
CH0185 | Sodium Nitrite, ACS reagent, 100g, #237213-100G (Sigma-Aldrich) | Nitrate | Sigma-Aldritch Chemical Co. | 237213-100G
CH0166 | Sodium Nitroferricyanide Dihydrate (Sodium Nitroprusside), CR ACS - 100g, #S350-100 | Ammonia | Fisher Scientific Co. | S350-100
CH1014 | Sodium Persulfate, Reagent, OI #169236 | TOC | OI Analytical | 169236
CH0412 | Sodium Phosphate monobasic monohydrate, ACS, 250g, #S9638-250G (Aldrich) | MBIO | Sigma-Aldritch Chemical Co. | S9638-250G
CH0403 | Sodium phosphate, monobasic monohydrate (Sodium Dihydrogen Phosphate monohydrate), 25g, PN AC424390250 | General - Buffer solution | Fisher Scientific Co. | AC424390250
CH5028 | Sodium Polytungstate Solution, 500ml, Sigma Aldrich #71914-500ml | General | Sigma-Aldritch Chemical Co. | 71914-500ml | By Request Only
CH0067 | Sodium Pyrophosphate - 500gm/bottle #S390-500, Sigma 221368-100G | General | Sigma-Aldritch Chemical Co. | 221368-100G
CH1078 | Sodium selenite pentahydrate, puriss, 25g, #00163-25G (Aldrich) | MBIO | Sigma-Aldritch Chemical Co. | 00163-25G | By Request Only
CH0413 | Sodium succinate dibasic hexahydrate, 100g, #S2378-100G (Sigma-Aldrich) | MBIO | Sigma-Aldritch Chemical Co. | S2378-100G
CH0049 | Sodium Sulfate - 500g #S-421-500 | Synthetic seawater | Fisher Scientific Co. | S-421-500
CH5024 | Sodium Sulfide hydrate, Na2S x H2O, 1 kg/bottle, #AS133720010 | General | Fisher Scientific Co. | AS133720010
CH0422 | Sodium Sulfide nona-hydrate, Na2S.9H2O, 50g, Aldrich 431648-50G | Sulfide | Sigma-Aldritch Chemical Co. | 431648-50G
CH0168 | Sodium Sulfite, SigmaUltra, 100g #S4672-100G (Aldrich) | Silica | Sigma-Aldritch Chemical Co. | S4672-100G
CH0144 | Sodium tetraborate, ACS, 500g #S9640-500G (Aldrich) | Coulometer | Sigma-Aldritch Chemical Co. | C-64/500
CH0144 | Sodium tetraborate, ACS, 500g #S9640-500G (Aldrich) | Coulometer | Sigma-Aldritch Chemical Co. | C-64/500
CH0198 | Sodium Thiosulfate (pentahydrate) - 25g, #21724-7 | Sulfide | Sigma-Aldritch Chemical Co. | 21724-7
CH0405 | Stain, Acridine Orange Hemi(zinc chloride salt), 10g, #158550-10G (Aldrich) | Paleontology | ALDRICH CHEMICAL CO | 158550-10G
CH0099 | Stain, Alizarin Red S - 25g, #11,996-2 | Paleontology | ALDRICH CHEMICAL CO | 11,996-2
CH0029 | Stain, Biological, Malachite green oxalate, 25g, #M290-25 | Paleontology | FISHER SCIENTIFIC COMPANY | M290-25
CH0425 | Stain, Biological, Rose Bengal, 25g, #R323-25 | Paleontology | FISHER SCIENTIFIC COMPANY | R323-25
CH0032 | Stain, Biological, Safranin O, 25g, # S670-25 | Microscope | Fisher Scientific Co. | S670-25
CH0101 | Stain, Methylene Blue - 25g, #M-291-25 | Paleontology | FISHER SCIENTIFIC COMPANY | M-291-25
CH0197 | Stain, Phenol Red - 10mL, #P391-10 | pH Indicator | Fisher Scientific Co. | P391-10
CH0151 | Stain, Thiazol Yellow G (Titan), 50g, 202045-50g (Aldrich) | Paleontology | ALDRICH CHEMICAL CO | 202045-50G
CH1085 | Standard, IC, for Nitrate (NO3), TraceCERT®, 1000 mg/L nitrate in water, 100ml, Sigma 74246-100ml | IC | Sigma-Aldritch Chemical Co. | 74246-100ML | By Request Only
CM0598 | Standard, Ottowa Sand, 3kg, S23-3 | General | Fisher Scientific Co. | S23-3
CH0415 | Starch Soluble, powder - 100g, #S516-100 | MBIO | Fisher Scientific Co. | S516-100
CH1080 | Streptomycin sulfate salt, powder, BioReagent, suitable for cell culture, 25g, Aldrich S9137-25G (Request Only) | MBIO | Sigma-Aldritch Chemical Co. | S9137-25G
CH0129 | Strontium Chloride, Hexahydrate, 100g, #25552-1 | General | Sigma-Aldritch Chemical Co. | 25552-1
CH0404 | Sulfamic acid - 100g, #383120 | General | Sigma-Aldritch Chemical Co. | 38312-1
CH5015 | Sulfanilamide - 100g, #S9251-100G (Aldrich) | Nitrate | Sigma-Aldritch Chemical Co. | S9251-100G
CM5036 | Sulfanilamide Standard 2g, Costech #31046 | CHNS | Costech Analytical Technologies | 031046
CH1064 | Sulfur, flakes, >= 99.99% trace metal basis, Sigma 344621-50G | ICP | Sigma-Aldritch Chemical Co. | 344621-50G | By Request Only
CH1084 | SYBR Gold (10,000X in DMSO), 500ul, S-11494 | MBIO | Fisher Scientific Co. | S-11494 | By Request Only
CH1082 | SYBR Green I (10,000X in DMSO), 500ul, S-7563 | MBIO | Fisher Scientific Co. | S-7563 | By Request Only
CH1083 | SYBR Green II (10,000X in DMSO), 500ul, S-7564 | MBIO | Fisher Scientific Co. | S-7564 | By Request Only
CH0046 | Tartaric Acid, granular; 100g/botte #A-314-500 | General | Fisher Scientific Co. | A-314-100
CH1066 | Thiamine hydrochloride, 5g, Sigma #T4625-5G | General | Sigma-Aldritch Chemical Co. | T4625-5G | By Request Only
CH0187 | Tiron Indicator, 4,5-Dihydroxy-1,3-Benzene-Disulfonic Acid 25g | Iron photometric | Sigma-Aldritch Chemical Co. | 172553 | By Request Only
CM5171 | TOC standard, 100 ppm, 250ml/bt, OI#324550 | TOC | OI Analytical | 324550
CM5172 | TOC standard, 100 ppm, 250ml/bt, OI#324550 | TOC | OI Analytical | 325227
CM5173 | TOC standard, 1000ppm, 250ml/bt, OI#169252 | TOC | OI Analytical | 169252
CH0400 | Tracer, (PFT) Perfluoro Methylcyclohexane P/N 3295, 1Kg as UOI, but can be ordered as 16kg steel drum bulk | MBIO | Oakwood Products, Inc. | 3295
CH1009 | Tragacanth, Gum, Aldrich #G1128-500G | MBIO | Sigma-Aldritch Chemical Co. | G1128-500G
CH1067 | Trichloroacetic acid, redistilled, 100g, Sigma #522082-100G | MBIO | Sigma-Aldritch Chemical Co. | 522082-100G | By Request Only
CH0418 | Trimethylamine, 25-27%, 500mL, Aldrich#426474 | MBIO | Sigma-Aldritch Chemical Co. | 426474
CH1010 | Tris Base, Tris(hydroxymethyl)aminomethane, 500g/bt, #BP152-500 | MBIO |  | BP152-500 | By Request Only
CH1065 | Tris TE buffer, 1X, Molecular grade, 500ml, Promega. Fisher #PR V6232 | MBIO | Fisher Scientific Co. | PR V6232 | By Request Only
CH5013 | Tungstic Acid, 5g, Acros AC20761-0050 | General | Fisher Scientific Co. | AC20761-0050
CH1016 | Tween 80, Sigma-Aldrich #P1754-500ML Sorbitan, mono-(9Z)-9-octadecenoate, poly(oxy-1,2-ethanediyl) derivative | SPEC, MBIO | Sigma-Aldritch Chemical Co. | P1754-500ML
CM5039 | Vanadium Pentoxide, 5g, #021027 | CHNS | Costech Analytical Technologies | 21027
HW0264 | Vaseline Petroleum Jelly; 1 lb size | General
CH1076 | Vitamin B12, >= 98%, Sigma #V2876-100MG | MBIO | Sigma-Aldritch Chemical Co. | V2876-100MG | By Request Only
LS0360 | Wax, Paraffin | General
CH0025 | Xylenes, 500mL, # X5-500 [PALEO] | Paleontology | Fisher Scientific Co. | X5-500
CH0414 | Yeast Extract - 100g, #BP1422-100 | MBIO | Sigma-Aldritch Chemical Co. | BP1422-100
CH0420 | Zinc acetate dihydrate, 250g; p/n 5090114955 | Paleontology | Fisher Scientific Co. | 5090114955
CH0058 | Zinc Chloride, 100g, #Z-33-100 | spiking SO4 sample | Fisher Scientific Co. | Z-33-100
CH1069 | Zinc Sulfate Monohydrate, 99%, Acros Organic. Fisher #AC38980-2500 | General | Fisher Scientific Co. | AC38980-2500 | By Request Only
CH1068 | Zinc, metal, 500g, Fisher #Z15-500 | General | Fisher Scientific Co. | Z15-500 | By Request Only